## Slide 1: Introduction to ASTRA V
Light Scattering University
Wyatt Technology Corporation
Santa Barbara, California

## Slide 2: Flexible Configuration, Fully Networked
ASTRA V
Optilab or
3rd party RI
WyattQELS
UV
ViscoStar or 3rd
party viscometer
DAWN or miniDAWN

## Slide 3: Three Tiers
Basic
With Research Database
Security Pack
(21 CFR Part 11 Compliant)

## Slide 4: PC Requirements
Windows XP Professional (SP2+) or Windows Vista Business, Enterprise, or Ultimate
See www.wyatt.com for PC specifications
Note that Security Pack tier has additional requirements, involving the SQL database.
SQL Server 2005 full version is recommended; not included with ASTRA.

## Slide 5: Overview
Discuss the meaning and use of:
  Experiments
  Templates
  Profiles
  Configurations
Discuss data collection paradigms:
  Single experiments
  Sample sets

## Slide 6: Experiments
Hardware setup, processing, and results are grouped together as an experiment.
After collection, raw data is stored with experiment.

## Slide 7: Experiments
Experiment view captures the logical construction and flow of an experiment.
This view is the most common selection for the left-hand side of your ASTRA window.

## Slide 8: Templates
Experiments are generated from a template.
A comprehensive set of system templates is provided. ♥
System templates need to be personalized before collection.

## Slide 9: Profiles
Hardware constants & settings are stored in profiles.

## Slide 10: Configurations
Profiles can be grouped into Configurations.
Replacing the Configuration is a convenient way to update system constants after data collection, if necessary.

## Slide 11: Templates, Part II
Applying a template to a collected experiment
  will change processing procedures / results
  will not affect configuration or existing baseline/peak settings!
Certain ASTRA templates have been provided for advanced processing. ♥

## Slide 12: Summary
Experiments combine configuration, procedures, results, and data.
Experiment Templates can be used to collect or re-analyze data.
Profiles and Configurations store hardware settings and detector constants

## Slide 13: Data Collection
Collection paradigms:
Single experiments
Sample sets

## Slide 14: Single Experiments
Create a new experiment from template.
Run the experiment.
Data from single collection is stored with experiment.
Results are generated automatically if the template includes processing info.

## Slide 15: Sample Sets
Sample sets contain pointers to one or more templates to be run sequentially.
As the sample set is run, a new experiment is created for each sample injection.

## Slide 16: Sample Sets
It is possible to use a different template for each sample.
Experiment types can be varied on an injection by injection basis.
Sample sets can be imported directly from Waters Empower software. Others coming…

## Slide 17: Next…
Software installation and activation
Connecting to instruments
Running a simple collection, “Calibration”